# @BEGIN_TEXTDEF

SENSI

SENSI is an XBit's API (application programming interface) of SensiCam, a high performance digital camera.  It can be used in Windows 9x and NT.  Multiple SensiCam cameras may be intalled in a single computer system.  Each SensiCam camera is accessed via an id, starting from 0.

SYNOPSIS

senis id config ?options?

sensi id cget	?option?

sensi id create ?options?

sensi id delete

sensi id dma start end command

sensi id grab	start end command

sensi id imgid img_id

sensi id record start end bands exp delay

sensi id rimg rimgName

sensi id rcam ch update

sensi id rcoc

sensi id save filename

sensi id status ?option?

sensi id stop

sensi id scos

sensi id temperature

sensi id update

CONFIGURATION OPTIONS

Congifuration options are available to both seinsi widget creation and configuration.  Individual option value may be retrieved by the command cget.

-file			a path of a rimage for the command sensi id rcam

-boardid			a board id, which is overrode by the parameter id, therefore it is not used.

-mode			the sensiCam opreation mode defined by

typ + (gain * 256) + submode * 65536

typ 				0 Long Exposure, Long Exposure QE

gain 				0 normal analog gain

1 extended analog gain

3 Low Light Mode (only SensiCam QE)

submode		0 sequential, busy out

1 simultaneous, busy out

2 sequential, expos out*

3 simultaneous, expos out*

*) for exact description contact PCO support

typ 				1 Fast Shutter, Double Shutter

gain 				0 normal analog gain

1 extended analog gain

submode			0 standard

1 double 200ns (only SensiCam Double Shutter)

2 double 1s (only SensiCam Double Shutter)

3 reserved

4 reserved

5 cycle

-trig			flag to set the camera trigger mode.  The following information can be found in SensiCam SDK v5.10

When "trig" is set to any external trigger mode delay and exposure times are started with a TTL-trigger signal applied at the external trigger input "TRIG" of the PCI Interface Board.

For SensiCam LongExposure trig

0x000 auto start, auto frame

0x001 auto start, frame with external rising edge

0x002 auto start, frame with external falling edge

0x100 sequence start with external rising edge *

0x200 sequence start with external falling edge *

0x101 sequence + frame start with external rising edge *

0x202 sequence + frame start with external falling edge *

All other combinations are not allowed!

* These modes will work only with PCI Interface Boards with revision code 17 and later. Please ask factory.

There are three different modes to trigger the camera:

auto start (trig = 0x000, 0x001, 0x002) Each frame will be triggered, either by an internal software trigger or by an external trigger signal.

sequence start (trig = 0x100, 0x200) An external trigger signal starts a complete sequence.

sequence + frame start (trig = 0x101, 0x202H) The first external trigger starts a sequence, the second trigger starts the first exposure (frame). The following exposures must be triggered, too.

For SensiCam FastShutter and DoubleShutter trig

0 no external synchronization

1 external falling edge

2 external rising edge

All other combinations are not allowed!

-count			the number of images of a recording sequence

-vbin			vertical binning

-hbin			horizontal binning

-exp			exposure time in ms

-delay			delay time in ms

-roixmin			region of interest x minimum in a unit of 32 pixels

-roiymin			region of interest y minimum in a unit of 32 pixels

-roixmax			region of interest x maximum in a unit of 32 pixels

-roiymax			region of interest y maximum in a unit of 32 pixels

-dmamode			dma mode 0 or 1. In mode = 0 the images are written from bufstart to bufend and the DMA transfer terminates subsequently. Mode = 1 is the wrap around mode. Writing starts at the first image again after having written the last image from the previous sequence. The DMA transfer runs continuously.

-dmathread			flag to create a DMA thread in recording.

-dmaupdatedelta			specifies a delta value for updating the exported images during a DMA image recording.

-dmaupdatemode			flag to update the exported images in a call to sensi id status command.

-bits			specifies the pixel bits of the exported images.  The value should be either 8 or 16.

-low			the low value for image conversion from 12 bits to 8 bits when the option -bits is 8.

-high			the high value for image conversion from 12 bits to 8 bits when the option -bits is 8.

-rmode			read mode: 0 normal, 1 flip and bottom up.

-nimg			number of images in allocated memory.

SENSI COMMANDS

senis id config ?options?					configure a sensiCam widget

sensi id cget	?option?				get an option value

sensi id create ?options?					create a sensiCam widget

sensi id delete					delete the sensiCam widget

sensi id dma start end command					grab a DMA image

sensi id grab	start end command				grab an image

sensi id imgid img_id					select an image id

sensi id record start end bands exp delay		record a sequence of image

sensi id rimg rimgName					copy an image to a rimage

sensi id rcam ch update					grab an image into a specified display channel

sensi id rcoc					start COC (camera operation code) in continues mode

sensi id save filename					save a recorded image

sensi id status ?option?					update the content of the export images

sensi id stop					make the sensiCam widget in a stop status

sensi id scos					stop COC

sensi id temperature					retrieve the temperature of the sensiCam

sensi id update					make the sensiCam widget in a running status

# @END_TEXTDEF

# @BEGIN_TAGDEF

# @BEGIN_FONT

# "-*-Times-medium-r-Normal-*-*-140-*-*-*-*-*-*" 1.5 3.0 3.5 3.258 3.278 5.0

# "-*-Times-Bold-r-Normal-*-*-140-*-*-*-*-*-*" 1.0 1.5 3.0 3.5 5.0 5.8 6.0 6.5 7.0 7.5 8.0 8.5 9.0 9.5 9.9 9.15 10.0 10.5 10.9 10.12 11.0 11.5 11.9 11.13 12.0 12.5 12.9 12.14 13.0 13.5 13.9 13.15 14.0 14.5 14.9 14.13 15.0 15.5 15.9 15.13 16.0 16.5 16.9 16.13 17.0 17.5 17.9 17.13 18.0 18.5 18.9 18.15 19.0 19.5 19.9 19.13 20.0 20.5 20.9 20.13 21.0 21.5 21.9 21.20 22.0 22.5 22.9 22.15 28.0 28.5 28.43 28.48 28.52 28.56 30.0 30.8 32.0 32.5 56.0 56.5 85.0 85.6 87.0 87.5 89.0 89.5 91.0 91.4 93.0 93.6 95.0 95.8 97.0 97.8 99.0 99.8 101.0 101.8 103.0 103.8 105.0 105.10 107.0 107.15 109.0 109.14 109.65 109.70 111.0 111.5 113.0 113.4 113.81 113.86 115.0 115.5 115.83 115.88 117.0 117.6 119.0 119.5 121.0 121.14 123.0 123.5 124.0 124.5 125.0 125.5 126.0 126.5 126.9 126.15 127.0 127.5 127.9 127.12 128.0 128.5 128.9 128.13 129.0 129.5 129.9 129.14 130.0 130.5 130.9 130.15 131.0 131.5 131.9 131.13 132.0 132.5 132.9 132.13 133.0 133.5 133.9 133.13 133.29 133.30 133.36 133.37 133.46 133.47 134.0 134.5 134.9 134.13 135.0 135.5 135.9 135.15 136.0 136.5 136.9 136.13 137.0 137.5 137.9 137.13 138.0 138.5 138.9 138.20 139.0 139.5 139.9 139.15

# "-*-Times-medium-I-Normal-*-*-140-*-*-*-*-*-*" 3.258 3.260 6.6 6.9 6.15 6.28 7.6 7.9 7.13 7.22 8.6 8.9 8.15 8.25 9.6 9.8 10.6 10.8 10.13 10.30 11.6 11.8 11.13 11.31 12.6 12.8 12.15 12.21 13.6 13.8 13.16 13.41 14.6 14.8 14.14 14.22 16.6 16.8 17.14 17.22 18.6 18.8 18.16 18.24 20.6 20.8 21.6 21.8 22.6 22.8 28.49 28.51 30.58 30.60 34.0 34.3 34.6 34.11 34.21 34.28 36.0 36.3 37.0 37.4 40.0 40.7 46.0 46.3 47.0 47.4 49.0 49.7 109.71 109.73 123.6 123.9 123.15 123.28 124.6 124.9 124.13 124.22 125.6 125.9 125.15 125.25 126.6 126.8 127.6 127.8 127.13 127.30 128.6 128.8 128.13 128.31 129.6 129.8 129.15 129.21 130.6 130.8 130.16 130.41 131.6 131.8 131.14 131.22 133.6 133.8 134.14 134.22 135.6 135.8 135.16 135.24 137.6 137.8 138.6 138.8 139.6 139.8

# "-*-Times-Bold-R-Normal-*-*-140-*-*-*-*-*-*" 6.9 6.15 7.9 7.13 8.9 8.15 24.0 24.21 26.143 26.147 109.74 109.80 123.9 123.15 124.9 124.13 125.9 125.15

# "-*-Times-Medium-r-Normal-*-*-140-*-*-*-*-*-*" 15.5 15.6 15.8 15.9 15.13 15.14 15.16 15.17 15.23 15.25 17.5 17.6 17.8 17.9 19.5 19.6 19.8 19.9 132.5 132.6 132.8 132.9 132.13 132.14 132.16 132.17 132.23 132.25 134.5 134.6 134.8 134.9 136.5 136.6 136.8 136.9

# "-*-Times-Medium-I-Normal-*-*-140-*-*-*-*-*-*" 15.6 15.8 15.14 15.16 15.17 15.23 17.6 17.8 19.6 19.8 132.6 132.8 132.14 132.16 132.17 132.23 134.6 134.8 136.6 136.8

# "-*-Times-Medium-R-Normal-*-*-140-*-*-*-*-*-*" 24.21 26.143 26.147 26.148

# @END_FONT

# @BEGIN_LMARGIN1

# "0.5i" 2.0 4.0 6.0 24.0 25.0 34.0 35.0 36.0 54.11 58.0 83.39 121.0 123.0 140.0

# "0i" 24.0 25.0 121.0 121.14

# "1.5i" 34.0 35.0 36.0 54.11 58.0 83.39

# @END_LMARGIN1

# @BEGIN_LMARGIN2

# "0.5i" 2.0 4.0 24.0 26.148 34.0 35.0 120.0 123.0

# "2.5i" 6.0 24.0 119.46 120.0 123.0 140.0

# "1.5i" 28.0 34.0 35.0 62.0 70.0 74.0 76.196 119.46

# "2i" 62.0 69.0 74.0 76.196

# @END_LMARGIN2

# @BEGIN_RMARGIN

# "0.5i " 2.0 4.0 120.0 121.0

# "0.5i" 6.0 25.0 28.0 120.0 121.0 121.14 123.0 140.0

# "0.25i" 25.0 26.148

# @END_RMARGIN

# @BEGIN_UNDERLINE

# "true" 1.0 1.5

# @END_UNDERLINE

# @BEGIN_WRAP

# "word" 1.0 140.0

# @END_WRAP

# @END_TAGDEF

# @BEGIN_CONFIG

# "-font -*-Times-medium-r-Normal-*-*-140-*-*-*-*-*-* -tabs {0.5i 1.0i 1.5i 2.0i 2.5i 3.0i 3.5i 4.0i} -background #c0c0c0c0c0c0 -foreground #000000000000 -wrap word -spacing1 0 -spacing2 0 -spacing3 0"

# @END_CONFIG